## Spare_Parts_Inventory
Equipment_Category | Part_Name | Part_Code | SAP_Material_Code | Current_Stock | Minimum_Required | Maximum_Threshold | In_Process | Unit_Cost | Supplier | Last_Updated | Status
MLT_TESTER | Bracket
MLT_TESTER | Cylinder
MLT_TESTER | CNC proportional valve
MLT_TESTER | Pull pressure sensor
MLT_TESTER | Sucker
MLT_TESTER | Deformation sensor
MLT_TESTER | Control cabinet system
MLT_TESTER | PLC
MLT_TESTER | IPC
MLT_TESTER | Constant current power supply
MLT_TESTER | Temperature sensor
MLT_TESTER | Vacuum pump
MLT_TESTER | Thermocouple
MLT_TESTER | Deformation instrument
MLT_TESTER | Tensimeter
MLT_TESTER | Tension transmitter
MLT_TESTER | Thermocouples
MLT_TESTER | 24V switching power supply
MLT_TESTER | 100V DC stabilized voltage power supply
MLT_TESTER | Three color light indicator
MLT_TESTER | Purlin
MLT_TESTER | Clamps
MLT_TESTER | M8-Bolts
MLT_TESTER | Nuts
MLT_TESTER | Compressed air unit
MLT_TESTER | Proportional valves
MLT_TESTER | Five-way valves
MLT_TESTER | Vacuum valves
MLT_TESTER | Signal amplifiers
HAIL_TESTER | Support and mobile system
HAIL_TESTER | Ice ball gun head
HAIL_TESTER | Ice ball mold
HAIL_TESTER | Electronic balance
HAIL_TESTER | Vernier caliper
HAIL_TESTER | Ice ball freezer
HAIL_TESTER | Ice ball refrigerator
HAIL_TESTER | Control and acquisition system
HAIL_TESTER | Air tank
HAIL_TESTER | Valve
HAIL_TESTER | Gun
HAIL_TESTER | Speed sensor
HAIL_TESTER | Display screen
HAIL_TESTER | USB interface
HAIL_TESTER | Start button
HAIL_TESTER | Stop button
HAIL_TESTER | Emergency stop button
HAIL_TESTER | Power switch
HAIL_TESTER | Air switch
HAIL_TESTER | PLC
HAIL_TESTER | Drive motor
HAIL_TESTER | Counter
HAIL_TESTER | Φ12mm pipe
HAIL_TESTER | Compressed air source
HAIL_TESTER | Aviation plug
HAIL_TESTER | AC220V power supply
HAIL_TESTER | USB flash disk
HAIL_TESTER | Ice ball grinding tools
HAIL_TESTER | Waste ice ball treatment tank
HAIL_TESTER | Protective measures
HAIL_TESTER | Infrared ray system
HAIL_TESTER | Multiple fixtures
PCT | HEATER
COMMON_PARTS | Battery
COMMON_PARTS | Connector
COMMON_PARTS | 4/6 mm2 Cu core cable
COMMON_PARTS | Flexible pvc piping
COMMON_PARTS | Led light for visual area
COMMON_PARTS | K type 4 channel data logger temperature/ thermal coupler
COMMON_PARTS | Temp and humidity data logger
THERMAL_CYCLING | ELCB (Earth Leakage Circuit Breaker)
THERMAL_CYCLING | MPCB (Motor Protection Circuit Breaker)
THERMAL_CYCLING | MCB (Miniature Circuit Breaker)
THERMAL_CYCLING | Main Switch/Breaker
THERMAL_CYCLING | Emergency Stop Switch
THERMAL_CYCLING | SPP (Single Phase Protection)
THERMAL_CYCLING | Phase Failure Relay
THERMAL_CYCLING | Voltage Monitor Relay
THERMAL_CYCLING | Industrial Socket and Plug Set
THERMAL_CYCLING | 5mtrs Cable with Industrial Socket and Plug
THERMAL_CYCLING | Regulated Power Supply
THERMAL_CYCLING | Enhanced Modular Controller
THERMAL_CYCLING | SIMATIC PLC (Programmable Logic Control)
THERMAL_CYCLING | Main Control Board
THERMAL_CYCLING | Power Supply Board
THERMAL_CYCLING | Communication Board
THERMAL_CYCLING | Main Contactor
THERMAL_CYCLING | Heater Contactors
THERMAL_CYCLING | Compressor Contactors (HS/LS)
THERMAL_CYCLING | Fan Motor Contactors
THERMAL_CYCLING | Auxiliary Relays
THERMAL_CYCLING | Cool Relay
THERMAL_CYCLING | Inspection Lamp Relay
THERMAL_CYCLING | Thermal Overload Relays
THERMAL_CYCLING | SSR's (Solid State Relays)
THERMAL_CYCLING | Control Transformers
THERMAL_CYCLING | Transmitter
THERMAL_CYCLING | EMI Filter
THERMAL_CYCLING | Indicator Lamps
THERMAL_CYCLING | Thermal Fuse
THERMAL_CYCLING | Boiler Tank
THERMAL_CYCLING | DM Water Reservoir Tank
THERMAL_CYCLING | Water Solenoid Valve (boiler)
THERMAL_CYCLING | Water Solenoid Valve (wick tank)
THERMAL_CYCLING | Water Float Switch (boiler)
THERMAL_CYCLING | Water Float Switch (wick tank)
THERMAL_CYCLING | Water level adjuster float
THERMAL_CYCLING | Water Float Assembly
THERMAL_CYCLING | 8mm Push-in Type Connector
THERMAL_CYCLING | Stop Valve
THERMAL_CYCLING | BSP Screw Thread R 1/2" Connecting Sleeve Ø 12mm
THERMAL_CYCLING | Water Inlet Strainer
THERMAL_CYCLING | Wick Cup
THERMAL_CYCLING | Compressor (Single Stage)
THERMAL_CYCLING | High Stage (HS) Compressor
THERMAL_CYCLING | Low Stage (LS) Compressor
THERMAL_CYCLING | Compressor internal overload relay (HS)
THERMAL_CYCLING | Compressor internal overload relay (LS)
THERMAL_CYCLING | Compressor external HP/LP switch (HS)
THERMAL_CYCLING | Compressor external HP/LP switch (LS)
THERMAL_CYCLING | Compressor Delay Timer
THERMAL_CYCLING | Oil Separator
THERMAL_CYCLING | Oil Separator HS
THERMAL_CYCLING | Oil Separator LS
THERMAL_CYCLING | Condenser
THERMAL_CYCLING | Condenser Fan
THERMAL_CYCLING | Condenser Fan Motor
THERMAL_CYCLING | Condenser Fan Blades
THERMAL_CYCLING | Filter-Drier
THERMAL_CYCLING | Filter-Drier HS
THERMAL_CYCLING | Filter-Drier LS
THERMAL_CYCLING | Sight Glass
THERMAL_CYCLING | Sight Glass HS
THERMAL_CYCLING | Sight Glass LS
THERMAL_CYCLING | Expansion Valve (TXV)
THERMAL_CYCLING | Expansion Valve HS
THERMAL_CYCLING | Expansion Valve LS
THERMAL_CYCLING | Evaporator
THERMAL_CYCLING | Plate Heat Exchanger (BPHE/Cascade)
THERMAL_CYCLING | High Pressure Switch
THERMAL_CYCLING | Low Pressure Switch
THERMAL_CYCLING | Hot Gas Solenoid Valve
THERMAL_CYCLING | Hot Gas Injection Valve
THERMAL_CYCLING | Hot Gas Bypass Valve
THERMAL_CYCLING | Liquid Bypass Solenoid Valve
THERMAL_CYCLING | Liquid Bypass Solenoid
THERMAL_CYCLING | Liquid Bypass Valve
THERMAL_CYCLING | Cool Solenoid Valve
THERMAL_CYCLING | Bypass Valve
THERMAL_CYCLING | Humidity Generator Solenoid
THERMAL_CYCLING | Air Heaters (Stainless Steel Tubular)
THERMAL_CYCLING | Immersion Heater
THERMAL_CYCLING | Humidity Generator Heater
THERMAL_CYCLING | Defog Heater
THERMAL_CYCLING | Heater MCBs
THERMAL_CYCLING | SSRs for heaters
THERMAL_CYCLING | Thermostat
THERMAL_CYCLING | Over-temperature Cut-off Thermostat
THERMAL_CYCLING | RTD PT100 Sensors (3mm dia, 75mm length)
THERMAL_CYCLING | Thermocouple sensors
THERMAL_CYCLING | Digital temperature sensors
THERMAL_CYCLING | Capacitive Type Humidity Sensor
THERMAL_CYCLING | Dry-Bulb Sensor (with single red "O" Ring)
THERMAL_CYCLING | Wet Bulb Sensor
THERMAL_CYCLING | Safety Sensor (without red "O" Ring)
THERMAL_CYCLING | HS Compressor SP (Suction Pressure) Sensor
THERMAL_CYCLING | HS Compressor DP (Discharge Pressure) Sensor
THERMAL_CYCLING | HS Compressor RGT (Return Gas Temperature) Sensor
THERMAL_CYCLING | LS Compressor SP Sensor
THERMAL_CYCLING | LS Compressor DP Sensor
THERMAL_CYCLING | LS Compressor RGT Sensor
THERMAL_CYCLING | Door Limit Switch
THERMAL_CYCLING | Fan Motor (Air Circulation)
THERMAL_CYCLING | Air Circulation Fan Blades
THERMAL_CYCLING | Door Hinges
THERMAL_CYCLING | Door Lock/Latch Assembly
THERMAL_CYCLING | Door Gaskets (Silicone, dual system)
THERMAL_CYCLING | Chamber Gasket
THERMAL_CYCLING | Port Plugs (Ø 125mm & Ø 50mm)
THERMAL_CYCLING | Thermal Insulation
THERMAL_CYCLING | Mounting Hardware
THERMAL_CYCLING | Bolts and Screws
THERMAL_CYCLING | 7" WVGA LCD Color Touch Screen (800 x 480)
THERMAL_CYCLING | HMI Touch Screen Display
THERMAL_CYCLING | Screen Brightness Control
THERMAL_CYCLING | Touch Calibration System
THERMAL_CYCLING | USB Port (Type-A)
THERMAL_CYCLING | USB Port (Type-B)
THERMAL_CYCLING | USB Memory Interface
THERMAL_CYCLING | Ethernet Port (RJ-45)
THERMAL_CYCLING | Inspection Lamp
THERMAL_CYCLING | Inspection Lamp Bulb
THERMAL_CYCLING | Lamp Delay Timer
THERMAL_CYCLING | Ethernet Communication Module
THERMAL_CYCLING | SMS Communication Module (Optional)
THERMAL_CYCLING | RS232/RS485 Ports
THERMAL_CYCLING | Internal Memory/SD Card
THERMAL_CYCLING | 2GB SD Card
THERMAL_CYCLING | RJ45 Ethernet Cable
THERMAL_CYCLING | USB Cables (Type-A, Type-B)
THERMAL_CYCLING | Multiple Language Support
THERMAL_CYCLING | User Access Control System
THERMAL_CYCLING | Diagnostic Systems
THERMAL_CYCLING | R-404A (High Stage/Single Stage)
THERMAL_CYCLING | R-23 (Low Stage)
THERMAL_CYCLING | Manifold Gauge Set
THERMAL_CYCLING | Vacuum Pump
THERMAL_CYCLING | Micron Gauge
THERMAL_CYCLING | Charging Scale
THERMAL_CYCLING | Leak Detection Equipment
THERMAL_CYCLING | Nitrogen Cylinder
THERMAL_CYCLING | Brazing Set with Oxy-Acetylene Cylinder
THERMAL_CYCLING | USB Thumb Drive (<1.5GB)
THERMAL_CYCLING | Cleaning Solvents
THERMAL_CYCLING | Other Consumables
THERMAL_CYCLING | Wick Cloth (for humidity sensors)
THERMAL_CYCLING | Control Panel Air Filter
THERMAL_CYCLING | Wire and Terminals
THERMAL_CYCLING | Loose Connection Supplies
DAMP_HEAT | ELCB (Earth Leakage Circuit Breaker)
DAMP_HEAT | MPCB (Motor Protection Circuit Breaker)
DAMP_HEAT | MCB (Miniature Circuit Breaker)
DAMP_HEAT | SPP (Single Phase Protection)
DAMP_HEAT | Industrial Socket and Plug Set
DAMP_HEAT | 5mtrs Cable with Industrial Socket and Plug
DAMP_HEAT | Regulated Power Supply
DAMP_HEAT | Modular Controller
DAMP_HEAT | Contactors
DAMP_HEAT | PLC (Programmable Logic Control)
DAMP_HEAT | Relays
DAMP_HEAT | Thyrister
DAMP_HEAT | SSR's (Solid State Relay)
DAMP_HEAT | Transmitter
DAMP_HEAT | EMI Filter
DAMP_HEAT | Heater Contactor
DAMP_HEAT | Cool Relay
DAMP_HEAT | Inspection Lamp Relay
DAMP_HEAT | Thermal Fuse
DAMP_HEAT | 8mm Push-in Type Connector
DAMP_HEAT | Stop Valve
DAMP_HEAT | BSP Screw Thread R 1/2" Connecting Sleeve Ø 12mm
DAMP_HEAT | Water Float Switch
DAMP_HEAT | Water Solenoid Valve
DAMP_HEAT | Water Inlet Solenoid Valve (for wick tank)
DAMP_HEAT | Compressor (Single Stage)
DAMP_HEAT | Oil Separator
DAMP_HEAT | Condenser
DAMP_HEAT | Filter-Drier
DAMP_HEAT | Sight Glass
DAMP_HEAT | Expansion Valve (TXV)
DAMP_HEAT | High Pressure Switch
DAMP_HEAT | Low Pressure Switch
DAMP_HEAT | Evaporator
DAMP_HEAT | Compressor Delay Timer
DAMP_HEAT | Hot Gas Solenoid Valve
DAMP_HEAT | Hot Gas Injection Valve
DAMP_HEAT | Liquid Bypass Solenoid Valve
DAMP_HEAT | Liquid Bypass Solenoid
DAMP_HEAT | Cool Solenoid Valve
DAMP_HEAT | Humidity Generator Solenoid
DAMP_HEAT | Compressor High Stage (HS)
DAMP_HEAT | Compressor Low Stage (LS)
DAMP_HEAT | Oil Separator HS
DAMP_HEAT | Oil Separator LS
DAMP_HEAT | Drier HS
DAMP_HEAT | Drier LS
DAMP_HEAT | Expansion Valve LS
DAMP_HEAT | Bypass Valve
DAMP_HEAT | Plate Heat Exchanger (BPHE)
DAMP_HEAT | Sight Glass HS
DAMP_HEAT | Stainless Steel Tubular Heaters
DAMP_HEAT | Immersion Heater
DAMP_HEAT | Humidity Generator Heater
DAMP_HEAT | Water Float Assembly
DAMP_HEAT | Over-temperature Cut-off Thermostat
DAMP_HEAT | RTD PT 100 Sensor (3mm diameter, 75mm length)
DAMP_HEAT | Capacitive Type Humidity Sensor
DAMP_HEAT | Safety Sensor (without red "O" Ring)
DAMP_HEAT | Dry-Bulb Sensor (with single red "O" Ring)
DAMP_HEAT | Pressure Sensors (High Stage)
DAMP_HEAT | Pressure Sensors (Low Stage)
DAMP_HEAT | Return Gas Temperature Sensors
DAMP_HEAT | Fan Motor (Air Circulation)
DAMP_HEAT | Fan Blades
DAMP_HEAT | Condenser Fan Motor
DAMP_HEAT | Condenser Fan Blades
DAMP_HEAT | Door Hinges
DAMP_HEAT | Door Lock/Latch Assembly
DAMP_HEAT | Door Limit Switch
DAMP_HEAT | Door Gaskets (Silicone, dual system)
DAMP_HEAT | Touch Screen Display (7" WVGA)
DAMP_HEAT | USB Port
DAMP_HEAT | Ethernet Port (RJ-45)
DAMP_HEAT | Inspection Lamp
DAMP_HEAT | Inspection Lamp Bulb
DAMP_HEAT | Defog Heater (for viewing window)
DAMP_HEAT | SMS Module (Optional)
DAMP_HEAT | Internal Memory/SD Card
DAMP_HEAT | Ethernet Cable
DAMP_HEAT | RJ45 Ethernet Cable
DAMP_HEAT | Gauge Manifold Set
DAMP_HEAT | USB Thumb Drive
DAMP_HEAT | Entry Port Plugs (Ø 125mm & Ø 50mm)
DAMP_HEAT | Wick Cloth (for humidity sensors)
DAMP_HEAT | Nitrogen Cylinder
DAMP_HEAT | Brazing set with Oxy-Acetylene Cylinder
DAMP_HEAT | Vacuum Pump
DAMP_HEAT | Refrigerant (R-404A and R-23 for cascade systems)
DAMP_HEAT | Cleaning solvents and consumables