## Spare_Parts_Inventory
Equipment_Category | Part_Name | Part_Code | SAP_Material_Code | Current_Stock | Minimum_Required | Maximum_Threshold | In_Process | Unit_Cost | Supplier | Last_Updated | Status
MLT_TESTER | Bracket |  |  | 0 | 0 | [5 empty] | Inactive
MLT_TESTER | Cylinder |  |  | 0 | 0 | [5 empty] | Inactive
MLT_TESTER | CNC proportional valve |  |  |  | 1
MLT_TESTER | Pull pressure sensor |  |  |  | 1
MLT_TESTER | Sucker |  |  |  | 1
MLT_TESTER | Deformation sensor |  |  |  | 1
MLT_TESTER | Control cabinet system |  |  | 0 | 0
MLT_TESTER | PLC |  |  | 0 | 0
MLT_TESTER | IPC |  |  | 0 | 0
MLT_TESTER | Constant current power supply |  |  | 0 | 0
MLT_TESTER | Temperature sensor |  |  | 0 | 0
MLT_TESTER | Vacuum pump |  |  | 0 | 0
MLT_TESTER | Thermocouple |  |  |  | 1
MLT_TESTER | Deformation instrument |  |  | 0 | 0
MLT_TESTER | Tensimeter |  |  | 0 | 0
MLT_TESTER | Tension transmitter |  |  | 0 | 0
MLT_TESTER | 24V switching power supply |  |  | 0 | 0
MLT_TESTER | 100V DC stabilized voltage power supply |  |  | 0 | 0
MLT_TESTER | Three color light indicator |  |  |  | 1
MLT_TESTER | Purlin |  |  |  | 1
MLT_TESTER | Clamps |  |  |  | 1
MLT_TESTER | M8-Bolts |  |  |  | 1
MLT_TESTER | Nuts |  |  |  | 1
MLT_TESTER | Compressed air unit |  |  | 0 | 0
MLT_TESTER | Proportional valves |  |  |  | 1
MLT_TESTER | Five-way valves |  |  | 0 | 0
MLT_TESTER | Vacuum valves |  |  |  | 1
MLT_TESTER | Signal amplifiers |  |  | 0 | 0
HAIL_TESTER | Support and mobile system |  |  | 0 | 0
HAIL_TESTER | Ice ball gun head |  |  | 0 | 0
HAIL_TESTER | Ice ball mold |  |  | 0 | 0
HAIL_TESTER | Electronic balance |  |  | 0 | 0
HAIL_TESTER | Vernier caliper |  |  | 0 | 0
HAIL_TESTER | Ice ball freezer |  |  | 0 | 0
HAIL_TESTER | Ice ball refrigerator |  |  | 0 | 0
HAIL_TESTER | Control and acquisition system |  |  | 0 | 0
HAIL_TESTER | Air tank |  |  | 0 | 0
HAIL_TESTER | Valve |  |  |  | 1
HAIL_TESTER | Gun |  |  | 0 | 0
HAIL_TESTER | Speed sensor |  |  | 0 | 0
HAIL_TESTER | Display screen |  |  |  | 1
HAIL_TESTER | USB interface |  |  | 0 | 0
HAIL_TESTER | Start button |  |  |  | 1
HAIL_TESTER | Stop button |  |  |  | 1
HAIL_TESTER | Emergency stop button |  |  |  | 1
HAIL_TESTER | Power switch |  |  |  | 1
HAIL_TESTER | Air switch |  |  |  | 1
HAIL_TESTER | PLC |  |  | 0 | 0
HAIL_TESTER | Drive motor |  |  |  | 1
HAIL_TESTER | Counter |  |  | 0 | 0
HAIL_TESTER | Φ12mm pipe |  |  |  | 1
HAIL_TESTER | Compressed air source |  |  | 0 | 0
HAIL_TESTER | Aviation plug |  |  |  | 1
HAIL_TESTER | AC220V power supply |  |  | 0 | 0
HAIL_TESTER | USB flash disk |  |  | 0 | 0
HAIL_TESTER | Ice ball grinding tools |  |  | 0 | 0
HAIL_TESTER | Waste ice ball treatment tank |  |  | 0 | 0
HAIL_TESTER | Protective measures |  |  | 0 | 0
HAIL_TESTER | Infrared ray system |  |  | 0 | 0
HAIL_TESTER | Multiple fixtures |  |  | 0 | 0
PCT | HEATER |  |  |  | 1
COMMON_PARTS | Battery AA |  |  |  | 10
COMMON_PARTS | Battery 12V |  |  |  | 10
COMMON_PARTS | Connector |  |  |  | 10
COMMON_PARTS | 4/6 mm2 Cu core cable |  |  |  | 1
COMMON_PARTS | Flexible pvc piping |  |  |  | 1
COMMON_PARTS | Led light for visual area |  |  |  | 5
COMMON_PARTS | K type 4 channel data logger temperature/ thermal coupler |  |  |  | 1
COMMON_PARTS | Temp and humidity data logger |  |  |  | 1
THERMAL_CYCLING | ELCB (Earth Leakage Circuit Breaker) |  |  | 0 | 0
THERMAL_CYCLING | MPCB (Motor Protection Circuit Breaker) |  |  | 0 | 0
THERMAL_CYCLING | MCB (Miniature Circuit Breaker)- 2 |  |  |  | 1
THERMAL_CYCLING | MCB (Miniature Circuit Breaker)- 1 |  |  |  | 1
THERMAL_CYCLING | Main Switch/Breaker |  |  |  | 1
THERMAL_CYCLING | Emergency Stop Switch |  |  |  | 1
THERMAL_CYCLING | SPP (Single Phase Protection) |  |  |  | 1
THERMAL_CYCLING | Phase Failure Relay |  |  | 0 | 0
THERMAL_CYCLING | Voltage Monitor Relay |  |  | 0 | 0
THERMAL_CYCLING | Industrial Socket and Plug Set |  |  |  | 1
THERMAL_CYCLING | 5mtrs Cable with Industrial Socket and Plug |  |  |  | 1
THERMAL_CYCLING | Regulated Power Supply |  |  |  | 1
THERMAL_CYCLING | Enhanced Modular Controller |  |  |  | 1
THERMAL_CYCLING | SIMATIC PLC (Programmable Logic Control) |  |  | 0 | 0
THERMAL_CYCLING | Main Control Board |  |  | 0 | 0
THERMAL_CYCLING | Power Supply Board |  |  | 0 | 0
THERMAL_CYCLING | Communication Board |  |  | 0 | 0
THERMAL_CYCLING | Main Contactor |  |  | 0 | 0
THERMAL_CYCLING | Heater Contactors |  |  | 0 | 0
THERMAL_CYCLING | Compressor Contactors (HS/LS) |  |  |  | 1
THERMAL_CYCLING | Fan Motor Contactors |  |  |  | 1
THERMAL_CYCLING | Auxiliary Relays |  |  | 0 | 0
THERMAL_CYCLING | Cool Relay |  |  | 0 | 0
THERMAL_CYCLING | Inspection Lamp Relay |  |  | 0 | 0
THERMAL_CYCLING | Thermal Overload Relays |  |  | 0 | 0
THERMAL_CYCLING | SSR's (Solid State Relays) |  |  |  | 1
THERMAL_CYCLING | Control Transformers |  |  | 0 | 0
THERMAL_CYCLING | Transmitter |  |  | 0 | 0
THERMAL_CYCLING | EMI Filter |  |  | 0 | 0
THERMAL_CYCLING | Indicator Lamps |  |  |  | 1
THERMAL_CYCLING | Thermal Fuse |  |  |  | 1
THERMAL_CYCLING | Boiler Tank |  |  | 0 | 0
THERMAL_CYCLING | DM Water Reservoir Tank |  |  | 0 | 0
THERMAL_CYCLING | Water Solenoid Valve (boiler) |  |  |  | 1
THERMAL_CYCLING | Water Solenoid Valve (wick tank) |  |  |  | 1
THERMAL_CYCLING | Water Float Switch (boiler) |  |  |  | 1
THERMAL_CYCLING | Water Float Switch (wick tank) |  |  |  | 1
THERMAL_CYCLING | Water level adjuster float |  |  |  | 1
THERMAL_CYCLING | Water Float Assembly |  |  | 0 | 0
THERMAL_CYCLING | 8mm Push-in Type Connector |  |  |  | 1
THERMAL_CYCLING | Stop Valve |  |  |  | 1
THERMAL_CYCLING | BSP Screw Thread R 1/2" Connecting Sleeve Ø 12mm |  |  |  | 1
THERMAL_CYCLING | Water Inlet Strainer |  |  |  | 1
THERMAL_CYCLING | Wick Cup |  |  |  | 1
THERMAL_CYCLING | Compressor (Single Stage) |  |  | 0 | 0
THERMAL_CYCLING | High Stage (HS) Compressor |  |  | 0 | 0
THERMAL_CYCLING | Low Stage (LS) Compressor |  |  | 0 | 0
THERMAL_CYCLING | Compressor internal overload relay (HS) |  |  | 0 | 0
THERMAL_CYCLING | Compressor internal overload relay (LS) |  |  | 0 | 0
THERMAL_CYCLING | Compressor external HP/LP switch (HS) |  |  |  | 1
THERMAL_CYCLING | Compressor external HP/LP switch (LS) |  |  |  | 1
THERMAL_CYCLING | Compressor Delay Timer |  |  |  | 1
THERMAL_CYCLING | Oil Separator |  |  |  | 1
THERMAL_CYCLING | Oil Separator HS |  |  |  | 1
THERMAL_CYCLING | Oil Separator LS |  |  |  | 1
THERMAL_CYCLING | Condenser |  |  |  | 1
THERMAL_CYCLING | Condenser Fan |  |  | 0 | 0
THERMAL_CYCLING | Condenser Fan Motor |  |  | 0 | 0
THERMAL_CYCLING | Condenser Fan Blades |  |  |  | 1
THERMAL_CYCLING | Filter-Drier |  |  | 0 | 0
THERMAL_CYCLING | Filter-Drier HS |  |  | 0 | 0
THERMAL_CYCLING | Filter-Drier LS |  |  | 0 | 0
THERMAL_CYCLING | Sight Glass |  |  | 0 | 0
THERMAL_CYCLING | Sight Glass HS |  |  | 0 | 0
THERMAL_CYCLING | Sight Glass LS |  |  | 0 | 0
THERMAL_CYCLING | Expansion Valve (TXV) |  |  | 0 | 0
THERMAL_CYCLING | Expansion Valve HS |  |  | 0 | 0
THERMAL_CYCLING | Expansion Valve LS |  |  | 0 | 0
THERMAL_CYCLING | Evaporator |  |  | 0 | 0
THERMAL_CYCLING | Plate Heat Exchanger (BPHE/Cascade) |  |  |  | 1
THERMAL_CYCLING | High Pressure Switch |  |  |  | 1
THERMAL_CYCLING | Low Pressure Switch |  |  |  | 1
THERMAL_CYCLING | Hot Gas Solenoid Valve |  |  |  | 1
THERMAL_CYCLING | Hot Gas Injection Valve |  |  | 0 | 0
THERMAL_CYCLING | Hot Gas Bypass Valve |  |  | 0 | 0
THERMAL_CYCLING | Liquid Bypass Solenoid Valve |  |  |  | 1
THERMAL_CYCLING | Liquid Bypass Solenoid |  |  | 0 | 0
THERMAL_CYCLING | Liquid Bypass Valve |  |  | 0 | 0
THERMAL_CYCLING | Cool Solenoid Valve |  |  | 0 | 0
THERMAL_CYCLING | Bypass Valve |  |  | 0 | 0
THERMAL_CYCLING | Humidity Generator Solenoid |  |  | 0 | 0
THERMAL_CYCLING | Air Heaters (Stainless Steel Tubular) |  |  | 0 | 0
THERMAL_CYCLING | Immersion Heater |  |  | 0 | 0
THERMAL_CYCLING | Humidity Generator Heater |  |  | 0 | 0
THERMAL_CYCLING | Defog Heater |  |  | 0 | 0
THERMAL_CYCLING | Heater MCBs |  |  |  | 1
THERMAL_CYCLING | SSRs for heaters |  |  |  | 1
THERMAL_CYCLING | Thermostat |  |  |  | 1
THERMAL_CYCLING | Over-temperature Cut-off Thermostat |  |  |  | 1
THERMAL_CYCLING | RTD PT100 Sensors (3mm dia, 75mm length) |  |  |  | 1
THERMAL_CYCLING | Thermocouple sensors |  |  |  | 1
THERMAL_CYCLING | Digital temperature sensors |  |  | 0 | 0
THERMAL_CYCLING | Capacitive Type Humidity Sensor |  |  | 0 | 0
THERMAL_CYCLING | Dry-Bulb Sensor (with single red "O" Ring) |  |  | 0 | 0
THERMAL_CYCLING | Wet Bulb Sensor |  |  | 0 | 0
THERMAL_CYCLING | Safety Sensor (without red "O" Ring) |  |  | 0 | 0
THERMAL_CYCLING | HS Compressor SP (Suction Pressure) Sensor |  |  | 0 | 0
THERMAL_CYCLING | HS Compressor DP (Discharge Pressure) Sensor |  |  | 0 | 0
THERMAL_CYCLING | HS Compressor RGT (Return Gas Temperature) Sensor |  |  | 0 | 0
THERMAL_CYCLING | LS Compressor SP Sensor |  |  | 0 | 0
THERMAL_CYCLING | LS Compressor DP Sensor |  |  | 0 | 0
THERMAL_CYCLING | LS Compressor RGT Sensor |  |  | 0 | 0
THERMAL_CYCLING | Door Limit Switch |  |  |  | 1
THERMAL_CYCLING | Fan Motor (Air Circulation) |  |  |  | 1
THERMAL_CYCLING | Air Circulation Fan Blades |  |  | 0 | 0
THERMAL_CYCLING | Door Hinges |  |  | 0 | 0
THERMAL_CYCLING | Door Lock/Latch Assembly |  |  | 0 | 0
THERMAL_CYCLING | Door Gaskets (Silicone, dual system) |  |  | 0 | 0
THERMAL_CYCLING | Chamber Gasket |  |  | 0 | 0
THERMAL_CYCLING | Port Plugs (Ø 125mm & Ø 50mm) |  |  |  | 1
THERMAL_CYCLING | Thermal Insulation |  |  | 0 | 0
THERMAL_CYCLING | Mounting Hardware |  |  | 0 | 0
THERMAL_CYCLING | Bolts and Screws |  |  |  | 1
THERMAL_CYCLING | 7" WVGA LCD Color Touch Screen (800 x 480) |  |  |  | 1
THERMAL_CYCLING | HMI Touch Screen Display |  |  |  | 1
THERMAL_CYCLING | Screen Brightness Control |  |  | 0 | 0
THERMAL_CYCLING | Touch Calibration System |  |  | 0 | 0
THERMAL_CYCLING | USB Port (Type-A) |  |  | 0 | 0
THERMAL_CYCLING | USB Port (Type-B) |  |  | 0 | 0
THERMAL_CYCLING | USB Memory Interface |  |  | 0 | 0
THERMAL_CYCLING | Ethernet Port (RJ-45) |  |  | 0 | 0
THERMAL_CYCLING | Inspection Lamp |  |  | 0 | 0
THERMAL_CYCLING | Inspection Lamp Bulb |  |  |  | 1
THERMAL_CYCLING | Lamp Delay Timer |  |  |  | 1
THERMAL_CYCLING | Ethernet Communication Module |  |  |  | 1
THERMAL_CYCLING | SMS Communication Module (Optional) |  |  | 0 | 0
THERMAL_CYCLING | RS232/RS485 Ports |  |  | 0 | 0
THERMAL_CYCLING | Internal Memory/SD Card |  |  | 0 | 0
THERMAL_CYCLING | 2GB SD Card |  |  | 0 | 0
THERMAL_CYCLING | RJ45 Ethernet Cable |  |  | 0 | 0
THERMAL_CYCLING | USB Cables (Type-A, Type-B) |  |  | 0 | 0
THERMAL_CYCLING | Multiple Language Support |  |  | 0 | 0
THERMAL_CYCLING | User Access Control System |  |  | 0 | 0
THERMAL_CYCLING | Diagnostic Systems |  |  | 0 | 0
THERMAL_CYCLING | R-404A (High Stage/Single Stage) |  |  | 0 | 0
THERMAL_CYCLING | R-23 (Low Stage) |  |  | 0 | 0
THERMAL_CYCLING | Manifold Gauge Set |  |  | 0 | 0
THERMAL_CYCLING | Vacuum Pump |  |  | 0 | 0
THERMAL_CYCLING | Micron Gauge |  |  | 0 | 0
THERMAL_CYCLING | Charging Scale |  |  | 0 | 0
THERMAL_CYCLING | Leak Detection Equipment |  |  | 0 | 0
THERMAL_CYCLING | Nitrogen Cylinder |  |  | 0 | 0
THERMAL_CYCLING | Brazing Set with Oxy-Acetylene Cylinder |  |  | 0 | 0
THERMAL_CYCLING | USB Thumb Drive (<1.5GB) |  |  | 0 | 0
THERMAL_CYCLING | Cleaning Solvents |  |  |  | 1
THERMAL_CYCLING | Other Consumables |  |  | 0 | 0
THERMAL_CYCLING | Wick Cloth (for humidity sensors) |  |  |  | 1
THERMAL_CYCLING | Control Panel Air Filter |  |  |  | 1
THERMAL_CYCLING | Wire and Terminals |  |  |  | 1
THERMAL_CYCLING | Loose Connection Supplies |  |  | 0 | 0
THERMAL_CYCLING | AC-DC Relay |  |  |  | 1
THERMAL_CYCLING | Safety Controller |  |  |  | 1
THERMAL_CYCLING | RPS Power Step down Converter |  |  |  | 1
THERMAL_CYCLING | HOSE PIPE HP |  |  |  | 1
THERMAL_CYCLING | HOSE PIPE LP |  |  |  | 1
THERMAL_CYCLING | OIL SEPARATOR HP |  |  |  | 1
THERMAL_CYCLING | 3 phase Light Indicator |  |  |  | 1
THERMAL_CYCLING | Emergency Switch |  |  |  | 1
THERMAL_CYCLING | Main switch |  |  |  | 1
THERMAL_CYCLING | Tower lamp |  |  |  | 1
THERMAL_CYCLING | lamp inside chamber |  |  |  | 1
THERMAL_CYCLING | holder |  |  |  | 1
DAMP_HEAT | ELCB (Earth Leakage Circuit Breaker) |  |  | 0 | 0
DAMP_HEAT | MPCB (Motor Protection Circuit Breaker) |  |  | 0 | 0
DAMP_HEAT | MCB (Miniature Circuit Breaker) - 1 |  |  |  | 1
DAMP_HEAT | MCB (Miniature Circuit Breaker) - 2 |  |  |  | 1
DAMP_HEAT | SPP (Single Phase Protection) |  |  |  | 1
DAMP_HEAT | Industrial Socket and Plug Set |  |  |  | 1
DAMP_HEAT | 5mtrs Cable with Industrial Socket and Plug |  |  |  | 1
DAMP_HEAT | Regulated Power Supply |  |  |  | 1
DAMP_HEAT | Modular Controller |  |  | 0 | 0
DAMP_HEAT | Contactors |  |  | 0 | 0
DAMP_HEAT | PLC (Programmable Logic Control) |  |  | 0 | 0
DAMP_HEAT | Relays |  |  |  | 1
DAMP_HEAT | Thyrister |  |  | 0 | 0
DAMP_HEAT | SSR's (Solid State Relay) |  |  |  | 1
DAMP_HEAT | Transmitter |  |  | 0 | 0
DAMP_HEAT | EMI Filter |  |  | 0 | 0
DAMP_HEAT | Heater Contactor |  |  | 0 | 0
DAMP_HEAT | Cool Relay |  |  | 0 | 0
DAMP_HEAT | Inspection Lamp Relay |  |  | 0 | 0
DAMP_HEAT | Thermal Fuse |  |  | 0 | 0
DAMP_HEAT | 8mm Push-in Type Connector |  |  | 0 | 0
DAMP_HEAT | Stop Valve |  |  | 0 | 0
DAMP_HEAT | BSP Screw Thread R 1/2" Connecting Sleeve Ø 12mm |  |  |  | 1
DAMP_HEAT | Water Float Switch |  |  |  | 1
DAMP_HEAT | Water Solenoid Valve |  |  | 0 | 0
DAMP_HEAT | Water Inlet Solenoid Valve (for wick tank) |  |  | 0 | 0
DAMP_HEAT | Compressor (Single Stage) |  |  | 0 | 0
DAMP_HEAT | Oil Separator |  |  | 0 | 0
DAMP_HEAT | Condenser |  |  | 0 | 0
DAMP_HEAT | Filter-Drier |  |  | 0 | 0
DAMP_HEAT | Sight Glass |  |  | 0 | 0
DAMP_HEAT | Expansion Valve (TXV) |  |  | 0 | 0
DAMP_HEAT | High Pressure Switch |  |  |  | 1
DAMP_HEAT | Low Pressure Switch |  |  |  | 1
DAMP_HEAT | Evaporator |  |  | 0 | 0
DAMP_HEAT | Compressor Delay Timer |  |  |  | 1
DAMP_HEAT | Hot Gas Solenoid Valve |  |  |  | 1
DAMP_HEAT | Hot Gas Injection Valve |  |  | 0 | 0
DAMP_HEAT | Liquid Bypass Solenoid Valve |  |  |  | 1
DAMP_HEAT | Liquid Bypass Solenoid |  |  | 0 | 0
DAMP_HEAT | Cool Solenoid Valve |  |  | 0 | 0
DAMP_HEAT | Humidity Generator Solenoid |  |  | 0 | 0
DAMP_HEAT | Compressor High Stage (HS) |  |  | 0 | 0
DAMP_HEAT | Compressor Low Stage (LS) |  |  | 0 | 0
DAMP_HEAT | Oil Separator HS |  |  |  | 1
DAMP_HEAT | Oil Separator LS |  |  |  | 1
DAMP_HEAT | Drier HS |  |  | 0 | 0
DAMP_HEAT | Drier LS |  |  | 0 | 0
DAMP_HEAT | Expansion Valve LS |  |  | 0 | 0
DAMP_HEAT | Bypass Valve |  |  | 0 | 0
DAMP_HEAT | Plate Heat Exchanger (BPHE) |  |  | 0 | 0
DAMP_HEAT | Sight Glass HS |  |  | 0 | 0
DAMP_HEAT | Stainless Steel Tubular Heaters |  |  | 0 | 0
DAMP_HEAT | Immersion Heater |  |  | 0 | 0
DAMP_HEAT | Humidity Generator Heater |  |  | 0 | 0
DAMP_HEAT | Water Float Assembly |  |  | 0 | 0
DAMP_HEAT | Over-temperature Cut-off Thermostat |  |  | 0 | 0
DAMP_HEAT | RTD PT 100 Sensor (3mm diameter, 75mm length) |  |  |  | 1
DAMP_HEAT | Capacitive Type Humidity Sensor |  |  |  | 1
DAMP_HEAT | Safety Sensor (without red "O" Ring) |  |  |  | 1
DAMP_HEAT | Dry-Bulb Sensor (with single red "O" Ring) |  |  |  | 1
DAMP_HEAT | Pressure Sensors (High Stage) |  |  |  | 1
DAMP_HEAT | Pressure Sensors (Low Stage) |  |  |  | 1
DAMP_HEAT | Return Gas Temperature Sensors |  |  |  | 1
DAMP_HEAT | Fan Motor (Air Circulation) |  |  |  | 1
DAMP_HEAT | Fan Blades |  |  | 0 | 0
DAMP_HEAT | Condenser Fan Motor |  |  | 0 | 0
DAMP_HEAT | Condenser Fan Blades |  |  | 0 | 0
DAMP_HEAT | Door Hinges |  |  | 0 | 0
DAMP_HEAT | Door Lock/Latch Assembly |  |  | 0 | 0
DAMP_HEAT | Door Limit Switch |  |  | 0 | 0
DAMP_HEAT | Door Gaskets (Silicone, dual system) |  |  | 0 | 0
DAMP_HEAT | Touch Screen Display (7" WVGA) |  |  |  | 1
DAMP_HEAT | USB Port |  |  | 0 | 0
DAMP_HEAT | Ethernet Port (RJ-45) |  |  | 0 | 0
DAMP_HEAT | Inspection Lamp |  |  |  | 1
DAMP_HEAT | Inspection Lamp Bulb |  |  |  | 1
DAMP_HEAT | Defog Heater (for viewing window) |  |  | 0 | 0
DAMP_HEAT | SMS Module (Optional) |  |  | 0 | 0
DAMP_HEAT | Internal Memory/SD Card |  |  | 0 | 0
DAMP_HEAT | Ethernet Cable |  |  | 0 | 0
DAMP_HEAT | RJ45 Ethernet Cable |  |  | 0 | 0
DAMP_HEAT | Gauge Manifold Set |  |  | 0 | 0
DAMP_HEAT | USB Thumb Drive |  |  | 0 | 0
DAMP_HEAT | Entry Port Plugs (Ø 125mm & Ø 50mm) |  |  | 0 | 0
DAMP_HEAT | Wick Cloth (for humidity sensors) |  |  |  | 1
DAMP_HEAT | Nitrogen Cylinder |  |  | 0 | 0
DAMP_HEAT | Brazing set with Oxy-Acetylene Cylinder |  |  | 0 | 0
DAMP_HEAT | Vacuum Pump |  |  | 0 | 0
DAMP_HEAT | Refrigerant (R-404A and R-23 for cascade systems) |  |  | 0 | 0
DAMP_HEAT | Cleaning solvents and consumables |  |  |  | 1
DAMP_HEAT | AC-DC Relay |  |  |  | 1
DAMP_HEAT | Safety Controller |  |  |  | 1
DAMP_HEAT | RPS Power Step down Converter |  |  |  | 1
DAMP_HEAT | HOSE PIPE HP |  |  |  | 1
DAMP_HEAT | HOSE PIPE LP |  |  |  | 1
DAMP_HEAT | OIL SEPARATOR HP |  |  |  | 1
DAMP_HEAT | 3 phase Light Indicator |  |  |  | 1
DAMP_HEAT | Emergency Switch |  |  |  | 1
DAMP_HEAT | Main switch |  |  |  | 1
DAMP_HEAT | Tower lamp |  |  |  | 1
DAMP_HEAT | lamp inside chamber |  |  |  | 1
DAMP_HEAT | holder |  |  |  | 1

## Sheet1
AC-DC Relay
Safety Controller
RPS Power Step down Converter
HOSE PIPE HP
HOSE PIPE LP
OIL SEPARATOR HP
3 phase Light Indicator
Emergency Switch
Main switch
Tower lamp
lamp inside chamber
holder