## Spare_Parts_Inventory
Equipment_Category | Part_Name | Part_Code | SAP_Material_Code | Current_Stock | Minimum_Required | Maximum_Threshold | In_Process | Unit_Cost | Supplier | Last_Updated | Status
MLT_TESTER | Bracket
MLT_TESTER | Cylinder
MLT_TESTER | CNC proportional valve
MLT_TESTER | Pull pressure sensor
MLT_TESTER | Sucker
MLT_TESTER | Deformation sensor
MLT_TESTER | Control cabinet system
MLT_TESTER | PLC
MLT_TESTER | IPC
MLT_TESTER | Constant current power supply
MLT_TESTER | Temperature sensor
MLT_TESTER | Vacuum pump
MLT_TESTER | Thermocouple
MLT_TESTER | Deformation instrument
MLT_TESTER | Tensimeter
MLT_TESTER | Tension transmitter
MLT_TESTER | Thermocouples
MLT_TESTER | 24V switching power supply
MLT_TESTER | 100V DC stabilized voltage power supply
MLT_TESTER | Three color light indicator
MLT_TESTER | Compressed air unit
MLT_TESTER | Proportional valves
MLT_TESTER | Five-way valves
MLT_TESTER | Vacuum valves
MLT_TESTER | Signal amplifiers
HAIL_TESTER | Support and mobile system
HAIL_TESTER | Ice ball gun head
HAIL_TESTER | Ice ball mold
HAIL_TESTER | Electronic balance
HAIL_TESTER | Vernier caliper
HAIL_TESTER | Ice ball freezer
HAIL_TESTER | Ice ball refrigerator
HAIL_TESTER | Control and acquisition system
HAIL_TESTER | Air tank
HAIL_TESTER | Valve
HAIL_TESTER | Gun
HAIL_TESTER | Speed sensor
HAIL_TESTER | Display screen
HAIL_TESTER | USB interface
HAIL_TESTER | Start button
HAIL_TESTER | Stop button
HAIL_TESTER | Emergency stop button
HAIL_TESTER | Power switch
HAIL_TESTER | Air switch
HAIL_TESTER | PLC
HAIL_TESTER | Drive motor
HAIL_TESTER | Counter
HAIL_TESTER | Φ12mm pipe
HAIL_TESTER | Compressed air source
HAIL_TESTER | Aviation plug
HAIL_TESTER | AC220V power supply
HAIL_TESTER | USB flash disk
HAIL_TESTER | Ice ball grinding tools
HAIL_TESTER | Waste ice ball treatment tank
HAIL_TESTER | Protective measures
HAIL_TESTER | Infrared ray system
HAIL_TESTER | Multiple fixtures
PCT | HEATER
COMMON_PARTS | Battery
COMMON_PARTS | Connector
COMMON_PARTS | 4/6 mm2 Cu core cable
COMMON_PARTS | Flexible pvc piping
COMMON_PARTS | Led light for visual area
COMMON_PARTS | K type 4 channel data logger temperature/ thermal coupler
COMMON_PARTS | Temp and humidity data logger
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
THERMAL_CYCLING
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT
DAMP_HEAT